**Bill of Materials for PanFab Custom PAPR Design**

Akshay Kothakonda1 ,2, \*, Lyla Atta1,3, \*, Deborah Plana1 ,4,5, \*, Ferrous Ward1 ,2, \*, Chris Davis1,6, Avilash Cramer1 ,5, Robert Moran1 ,7, Jacob Freake1,8, Enze Tian1,9, Ofer Mazor1,10, Pavel Gorelik1,10, Christopher Van1,11, Christopher Hansen1,12, Helen Yang1,13, Michael S. Sinha1,13, Ju Li1,14, Sherry H. Yu1,15, Nicole R. LeBoeuf1,16, †,Peter K. Sorger1,4, †

1 Greater Boston Pandemic Fabrication Team (PanFab) c/o Harvard-MIT Center for Regulatory Science, Harvard Medical School, Boston, MA, USA

2Department of Aeronautics and Astronautics, MIT, Cambridge, MA, USA

3Johns Hopkins University School of Medicine, Baltimore, MD, USA

4Harvard Ludwig Cancer Research Center and Department of Systems Biology, Harvard Medical School, Boston, MA, USA

5 Harvard-MIT Division of Health Sciences & Technology, Cambridge, MA, USA

6GenOne Technologies, Cambridge, MA, USA

7Mine Survival, Panama City Beach, FL, USA

8Fikst Product Development, Woburn, MA, USA

9Beijing Key Laboratory of Indoor Air Quality Evaluation and Control, Department of Building Science, Tsinghua University, Beijing, China

10Research Instrumentation Core Facility, Harvard Medical School, Boston, MA, USA

11Borobot, Middleborough, MA, USA

12Harvard Graduate School of Design, Cambridge, MA, USA

13Harvard-MIT Center for Regulatory Science, Harvard Medical School, Boston MA, USA

14Department of Nuclear Science and Engineering and Department of Materials Science and Engineering, MIT, Cambridge, MA, USA

15Department of Dermatology, Yale School of Medicine, New Haven, CT USA

16 Department of Dermatology, Center for Cutaneous Oncology, Brigham and Women’s Hospital and Dana-Farber Cancer Institute, Boston, MA, USA

\*These authors contributed equally to this work

†Co-corresponding authors. E-mails: nleboeuf@bwh.harvard.edu; peter\_sorger@hms.harvard.edu cc: Maureen\_Bergeron@hms.harvard.edu;

ORCID IDs:

Akshay Kothakonda, 0000-0001-5424-4228

Lyla Atta, 0000-0002-6113-0082

Deborah Plana, 0000-0002-4218-1693

Avilash Cramer, 0000-0003-0014-8921

Jacob Freake, 0000-0002-5198-835X

Enze Tian, 0000-0001-6410-5360

Christopher Van, 0000-0003-3262-964X

Christopher Hansen, 0000-0002-6640-2745

Ju Li, PhD, 0000-0002-7841-8058

Helen Yang, 0000-0002-9455-5300

Michael S. Sinha 0000-0002-9165-8611

Sherry H. Yu: 0000-0002-1432-9128

Nicole R. LeBoeuf, MD, MPH, 0000-0002-8264-834X

Peter Sorger, PhD, 0000-0002-3364-1838

Following are the parts used in the PanFab Custom PAPR Design. The estimated costs assume a total production run of 2000 units.

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **S. No.** | **Item** | **Qty.** | **Supplier/Method** | **Part No.** | **Estimated cost ($)** |
| 1 | Housing Bin | 1 | ABS Injection Molding | N/A | 9.60 (Tooling Cost = 10,720) |
| 2 | Housing Lid | 1 | ABS Injection Molding | N/A | 9.70 (Tooling Cost = 19,589) |
| 3 | Blower, Centrifugal | 1 | Delta Electronics | BFB1012HD-04D4L | 36 |
| 4 | Battery pack, 12V NiMH | 1 | Tenergy | Amazon Standard Identification Number: B077Y9HNTF | 23 |
| 5 | Controller | 1 | Arduino | R3 | 23 |
| 6 | PCB Shield | 1 | OSH Park | N/A | 9.50 |
| 7 | Differential Pressure Sensor | 1 | Sensirion | SDP810-500PA | 19 |
| 8 | Buzzer | 1 | Mallory Sonalert Products | PS-580Q | 5 |
| 9 | Potentiometer | 1 | Bourns Inc. | 93R1A-R22-A12L | 3 |
| 10 | Transistor | 1 | ON Semiconductor | 2N3904BU | 0.20 |
| 11 | Resistor | 1 | Vishay BC Semiconductor | PR02000201001JR500 | 0.32 |
| 12 | Electrical connector | 1 | TE Connectivity AMP Connectors | 1-2834184-3 | 1.40 |
| 13 | Venturi | 1 | BPE Inc. | 178-71-2 | 0.54 |
| 14 | Venturi Ports | 2 | Car-Anth Manufacturing | 16-1204-2 | 0.68 (Tooling Cost = 375) |
| 15 | Blower silicone tube | 1 | McMaster-Carr | 3038K29 | N/A |
| 16 | Venturi silicone tube | 2 | McMaster-Carr | 3038K12 | N/A |
| 17 | Blower adapter | 1 | ABS 3D printing | N/A | 6 |
| 18 | Housing Gasket | 1 | Apple Rubber | N/A | 3.20 (Tooling Cost = 2560) |
| 19 | Housing Latches | 4 | McMaster-Carr | 1794A55 | 15.20 |
| 20 | Gaskets for threaded connections | 4 | McMaster-Carr | 5647K62 | 3 |
| 21 | Latch screws | 16 | McMaster-Carr | 98164A441 | 1.55 |
| 22 | Latch nuts | 16 | McMaster-Carr | 90730A007 | 0.65 |
| 23 | Switch | 1 | McMaster-Carr | 8002K114 | 28 |
| 24 | Switch Cover | 1 | McMaster-Carr | 70205K4 | 4.40 |
| 25 | Waist strap | 1 | Skil-Care | PathoShield Gait Belt | 11 |
| 26 | Filter | 2 | Custom Filters | N/A | 19 (Tooling Cost = 26020) |
| 27 | Hose adapter | 2 | ABS Injection molding | N/A | 6.60 (Tooling Cost = 9997) |
| 28 | Hose | 1 | Flexaust | Flex-Tube PU-IH, PN: 33800125000 | 8.50 |
| 29 | Hood coupler | 1 | ABS Injection molding | N/A | 3.30 (Tooling Cost = 7456) |
| 30 | Locking ring | 1 | ABS Injection molding | N/A | 2.70 (Tooling Cost = 5156) |
| 31 | Hood | 1 | University of Washington | VHA ADAPT PAPR Hood | 30 |
| **Total** | | | |  | **284.04** |

Note: Several costs are unofficial quotes